## Untagged PCR gel analysis
Untagged Control PCR Densitometry Results
Low Range
Lane: | Band Intensity (area): | Intensity/nt | pmol loaded | Volume loaded (uL) | Total volume | pmol calculated | pmol/uL | Total amount (pmol) | pmol/100uL rxn:
2-log ladder 500mer control band | 2392.991 | 4.786 | 0.2
109mer | 2821.82 | 25.8883 |  | 5 | 100 | 1.0818 | 0.21637 | 21.6367 | 21.6367
240mer | 4306.941 | 17.9456 |  | 5 | 100 | 0.74992 | 0.14998 | 14.9985 | 14.9985
366mer | 3217.163 | 8.7901 |  | 5 | 100 | 0.36733 | 0.073465 | 7.3465 | 7.3465
Mid and high range
Lane: | Band Intensity (area): | Intensity/nt | pmol loaded | Volume loaded (uL) | Total volume | pmol calculated | pmol/uL | Total amount (pmol) | pmol/100uL rxn:
1 kb gene ruler 1000mer control band | 2931.134 | 2.9311 | 0.09
874mer | 8373.033 | 9.5801 |  | 4 | 100 | 0.29416 | 0.073539 | 7.3539 | 7.3539
3115mer | 6455.054 | 2.0722 |  | 4 | 100 | 0.063628 | 0.015907 | 1.5907 | 1.5907

## Low range results
Low range ssDNA results
Template size: | Replicate #: | PCR input PAGE quantification (pmoL/100uL PCR) | Strand 1 PAGE quantification (pmoL/100uL PCR) | Strand 1 PAGE quantification %-recovered | Strand 1 Nanodrop quantification (pmoL/100uL PCR) | Strand 1 Nanodrop quantification %-recovered | Strand 2 PAGE quantification (pmoL/100uL PCR) | Strand 2 PAGE quantification %-recovered | Strand 2 Nanodrop quantification (pmoL/100uL PCR) | Strand 2 Nanodrop quantification %-recovered
109 | 1 | 17.34 | 17.45 | 100.6344 | 13.72 | 79.1234 | 14.48 | 83.5063 | 14.06 | 81.0842
109 | 2 | 14.08 | 11.97 | 85.0142 | 13.79 | 97.9403 | 10.4 | 73.8636 | 11.69 | 83.0256
109 | 3 | 12.8 | 12.8 | 100 | 9.4 | 73.4375 | 8.77 | 68.5156 | 10.75 | 83.9844
240 | 1 | 12.8 | 11.88 | 92.8125 | 11.25 | 87.8906 | 9.04 | 70.625 | 7.85 | 61.3281
240 | 2 | 10.46 | 11.68 | 111.6635 | 10.75 | 102.7725 | 10.29 | 98.3748 | 8.8 | 84.13
240 | 3 | 12.63 | 12.77 | 101.1085 | 12.4 | 98.1789 | 13.54 | 107.2051 | 9 | 71.2589
366 | 1 | 8.699 | 8.852 | 101.7588 | 8.825 | 101.4484 | 7.45 | 85.642 | 6.55 | 75.296
366 | 2 | 9.46 | 10 | 105.7082 | 9.225 | 97.5159 | 8.2 | 86.6808 | 6.975 | 73.7315
366 | 3 | 9.34 | 9.64 | 103.212 | 8.65 | 92.6124 | 8.38 | 89.7216 | 6.675 | 71.4668
Template size: | Average %-recovered Strand 1: | Standard deviation %-recovered Strand 1: | Average %-recovered Strand 2: | Standard deviation %-recovered Strand 2:
109 | 83.5004 | 12.8244 | 82.698 | 1.4776
240 | 96.2807 | 12.8244 | 72.239 | 11.4325
366 | 97.1922 | 12.8244 | 73.4981 | 1.9252

## Mid range results
Mid range ssDNA results
Template size: | Replicate #: | PCR input PAGE quantification (pmoL/100uL PCR) | Strand 1 PAGE quantification (pmoL/100uL PCR) | Strand 1 PAGE quantification %-recovered | Strand 1 Nanodrop quantification (pmoL/100uL PCR) | Strand 1 Nanodrop quantification %-recovered | Strand 2 PAGE quantification (pmoL/100uL PCR) | Strand 2 PAGE quantification %-recovered | Strand 2 Nanodrop quantification (pmoL/100uL PCR) | Strand 2 Nanodrop quantification %-recovered
874 | 1 | 7.6099 | - | - | 5.61 | 73.7198 | - | - | 3.225 | 42.379
874 | 2 | 7.9936 | - | - | 5.61 | 70.1811 | - | - | 3.699 | 46.2745
874 | 3 | 8.1702 | - | - | 5.7675 | 70.5915 | - | - | 3.687 | 45.1271
Template size: | Average %-recovered Strand 1: | Standard deviation %-recovered Strand 1: | Average %-recovered Strand 2: | Standard deviation %-recovered Strand 2:
874 | 71.4975 | 1.9355 | 44.5936 | 2.0018

## High range results
High range ssDNA results
Template size: | Replicate #: | PCR input PAGE quantification (pmoL/100uL PCR) | Strand 1 PAGE quantification (pmoL/100uL PCR) | Strand 1 PAGE quantification %-recovered | Strand 1 Nanodrop quantification (pmoL/100uL PCR) | Strand 1 Nanodrop quantification %-recovered | Strand 2 PAGE quantification (pmoL/100uL PCR) | Strand 2 PAGE quantification %-recovered | Strand 2 Nanodrop quantification (pmoL/100uL PCR) | Strand 2 Nanodrop quantification %-recovered
3115 | 1 | 2.755 | - | - | 2.6 | 94.3739 | - | - | 0.67 | 24.3194
3115 | 2 | 2.25 | - | - | 1.822 | 80.9778 | - | - | 0.375 | 16.6667
3115 | 3 | 2.375 | - | - | 2.1825 | 91.8947 | - | - | 0.495 | 20.8421
Template size: | Average %-recovered Strand 1: | Standard deviation %-recovered Strand 1: | Average %-recovered Strand 2: | Standard deviation %-recovered Strand 2:
3115 | 89.0821 | 7.1272 | 20.6094 | 3.8317

## 3115mer gel analysis results
3115bp template gel densitometry results
Replicate 1
Lane: | Band Intensity (area): | Intensity/nt | pmol loaded | Volume loaded (uL) | Total volume | pmol calculated | pmol/uL | Total amount (pmol) | pmol/100uL rxn:
Denatured ss3115 from untagged PCR | 7540.296 | 2.4206 | 0.1038
Clean PCR of 3115mer Sample 1 | 7447.104 | 2.3907 | - | 4 | 215 | 0.10252 | 0.025629 | 5.5103 | 2.7551
Replicate 2
Lane: | Band Intensity (area): | Intensity/nt | pmol loaded | Volume loaded (uL) | Total volume | pmol calculated | pmol/uL | Total amount (pmol) | pmol/100uL rxn:
Clean PCR of 3115mer Sample 2 | 6092.276 | 1.9558 | - | 4 | 215 | 0.083867 | 0.020967 | 4.5078 | 2.2539
Replicate 3
Lane: | Band Intensity (area): | Intensity/nt | pmol loaded | Volume loaded (uL) | Total volume | pmol calculated | pmol/uL | Total amount (pmol) | pmol/100uL rxn:
Clean PCR of 3115mer Sample 3 | 6419.69 | 2.0609 | - | 4 | 215 | 0.088374 | 0.022093 | 4.7501 | 2.375

## 3115mer Ndrop analysis results
3115bp template nanodrop results
Replicate 1
Sample ID | Nucleic Acid | Unit | A260 (Abs) | A280 (Abs) | 260/280 | 260/230 | Strand length (nt) | Concentration (uM) | Volume (uL) | Yield (pmol) | Yield (pmol/100uL PCR) | Total ng yield:
3115mer Strand 1 Sample 1 | 99.7 | ng/µl | 3.02 | 1.647 | 1.83 | 2.18 | 3115 | 0.104 | 50 | 5.2 | 2.6 | 2492.5
3095mer Strand 2 Sample 1 | 25.5 | ng/µl | 0.773 | 0.449 | 1.72 | 6.76 | 3095 | 0.0268 | 50 | 1.34 | 0.67 | 637.5
Replicate 2
Sample ID | Nucleic Acid | Unit | A260 (Abs) | A280 (Abs) | 260/280 | 260/230 | Strand length (nt) | Concentration (uM) | Volume (uL) | Yield (pmol) | Yield (pmol/100uL PCR)
3115mer Strand 1 Sample 2 | 69.9 | ng/µl | 2.118 | 1.232 | 1.72 | 3.27 | 3115 | 0.0729 | 50 | 3.645 | 1.8225 | 1747.5
3095mer Strand 2 Sample 2 | 14.1 | ng/µl | 0.427 | 0.227 | 1.88 | 1.91 | 3095 | 0.015 | 50 | 0.75 | 0.375 | 352.5
Replicate 3
Sample ID | Nucleic Acid | Unit | A260 (Abs) | A280 (Abs) | 260/280 | 260/230 | Strand length (nt) | Concentration (uM) | Volume (uL) | Yield (pmol) | Yield (pmol/100uL PCR)
3115mer Strand 1 Sample 3 | 83.7 | ng/µl | 2.535 | 1.388 | 1.83 | 2.19 | 3115 | 0.0873 | 50 | 4.365 | 2.1825 | 2092.5
3095mer Strand 2 Sample 3 | 18.9 | ng/µl | 0.573 | 0.341 | 1.68 | 11.34 | 3095 | 0.0198 | 50 | 0.99 | 0.495 | 472.5
Average Strand 1 [pmol/100uL PCR]: | Standard deviation Strand 1 [pmol/100uL PCR]: | Average Strand 2 [pmol/100uL PCR]: | Standard deviation Strand 2 [pmol/100uL PCR]:
2.2017 | 0.3891 | 0.51333 | 0.14835

## 874mer gel analysis results
874bp template gel densitometry results
Replicate 1
Lane: | Band Intensity (area): | Intensity/nt | pmol loaded | Volume loaded (uL) | Total volume | pmol calculated | pmol/uL | Total amount (pmol) | pmol/100uL rxn:
754mer Megamer from IDT | 1982.083 | 2.6428 | 0.24
Clean PCR of 874mer Sample 1 | 732.385 | 0.83797 | - | 1 | 200 | 0.076099 | 0.076099 | 15.2198 | 7.6099
Replicate 2
Lane: | Band Intensity (area): | Intensity/nt | pmol loaded | Volume loaded (uL) | Total volume | pmol calculated | pmol/uL | Total amount (pmol) | pmol/100uL rxn:
Clean PCR of 874mer Sample 2 | 769.314 | 0.88022 | - | 1 | 200 | 0.079936 | 0.079936 | 15.9872 | 7.9936
Replicate 3
Lane: | Band Intensity (area): | Intensity/nt | pmol loaded | Volume loaded (uL) | Total volume | pmol calculated | pmol/uL | Total amount (pmol) | pmol/100uL rxn:
Clean PCR of 874mer Sample 3 | 786.314 | 0.89967 | - | 1 | 200 | 0.081702 | 0.081702 | 16.3405 | 8.1702

## 874mer Ndrop analysis results
874bp template nanodrop results
Replicate 1
Sample ID | Nucleic Acid | Unit | A260 (Abs) | A280 (Abs) | 260/280 | 260/230 | Strand length (nt) | Concentration (uM) | Volume (uL) | Yield (pmol) | Yield (pmol/100uL PCR) | Total ng yield:
874mer Strand 1 Sample 1 | 100.6 | ng/µl | 3.049 | 1.662 | 1.83 | 1.9 | 874 | 0.374 | 30 | 11.22 | 5.61 | 1509
854mer Strand 2 Sample 1 | 56.5 | ng/µl | 1.711 | 0.924 | 1.85 | 1.71 | 854 | 0.215 | 30 | 6.45 | 3.225 | 847.5
Replicate 2
Sample ID | Nucleic Acid | Unit | A260 (Abs) | A280 (Abs) | 260/280 | 260/230 | Strand length (nt) | Concentration (uM) | Volume (uL) | Yield (pmol) | Yield (pmol/100uL PCR)
874mer Strand 1 Sample 2 | 100.6 | ng/µl | 3.049 | 1.663 | 1.83 | 2.03 | 874 | 0.374 | 30 | 11.22 | 5.61 | 1509
854mer Strand 2 Sample 2 | 64.8 | ng/µl | 1.964 | 1.054 | 1.86 | 1.79 | 854 | 0.2466 | 30 | 7.398 | 3.699 | 972
Replicate 3
Sample ID | Nucleic Acid | Unit | A260 (Abs) | A280 (Abs) | 260/280 | 260/230 | Strand length (nt) | Concentration (uM) | Volume (uL) | Yield (pmol) | Yield (pmol/100uL PCR)
874mer Strand 1 Sample 3 | 103.4 | ng/µl | 3.132 | 1.709 | 1.83 | 1.91 | 874 | 0.3845 | 30 | 11.535 | 5.7675 | 1551
854mer Strand 2 Sample 3 | 64.6 | ng/µl | 1.958 | 1.052 | 1.86 | 1.82 | 854 | 0.2458 | 30 | 7.374 | 3.687 | 969
Average Strand 1 [pmol/100uL PCR]: | Standard deviation Strand 1 [pmol/100uL PCR]: | Average Strand 2 [pmol/100uL PCR]: | Standard deviation Strand 2 [pmol/100uL PCR]:
5.6625 | 0.090933 | 3.537 | 0.27027

## 366mer gel analysis results
366bp template gel densitometry results
Replicate 1
Lane: | Band Intensity (area): | Intensity/nt | pmol loaded | Volume loaded (uL) | pmol calculated | pmol/uL | Total volume | Total amount (pmol) | pmol/100uL rxn:
200mer control from IDT | 1547.406 | 7.737 | 0.33
Clean PCR of 366mer Sample 1 | 1421.92 | 3.885 |  | 2 | 0.1657 | 0.082852 | 210 | 17.3989 | 8.6995
Strand 1 supernatant Sample 1 | 1556.627 | 4.2531 |  | 5 | 0.1814 | 0.03628 | 488 | 17.7049 | 8.8524
Strand 2 supernatant Sample 1 | 1162.678 | 3.3603 |  | 5 | 0.14333 | 0.028665 | 520 | 14.9058 | 7.4529
Replicate 2
Lane: | Band Intensity (area): | Intensity/nt | pmol loaded | Volume loaded (uL) | pmol calculated | pmol/uL | Total volume | Total amount (pmol) | pmol/100uL rxn:
Clean PCR of 366mer Sample 2 | 1546.678 | 4.2259 |  | 2 | 0.18024 | 0.090122 | 210 | 18.9255 | 9.4628
Strand 1 supernatant Sample 2 | 1759.092 | 4.8063 |  | 5 | 0.205 | 0.040999 | 488 | 20.0077 | 10.0038
Strand 2 supernatant Sample 2 | 1279.849 | 3.699 |  | 5 | 0.15777 | 0.031554 | 520 | 16.408 | 8.204
Replicate 3
Lane: | Band Intensity (area): | Intensity/nt | pmol loaded | Volume loaded (uL) | pmol calculated | pmol/uL | Total volume | Total amount (pmol) | pmol/100uL rxn:
Clean PCR of 366mer Sample 3 | 1526.749 | 4.1714 |  | 2 | 0.17792 | 0.08896 | 210 | 18.6817 | 9.3408
Strand 1 supernatant Sample 3 | 1695.627 | 4.6329 |  | 5 | 0.1976 | 0.03952 | 488 | 19.2858 | 9.6429
Strand 2 supernatant Sample 3 | 1308.506 | 3.7818 |  | 5 | 0.1613 | 0.03226 | 520 | 16.7754 | 8.3877

## 366mer Ndrop analysis results
366bp template nanodrop results
Replicate 1
Sample ID | Nucleic Acid | Unit | A260 (Abs) | A280 (Abs) | 260/280 | 260/230 | Strand length (nt) | Concentration (uM) | Volume (uL) | Yield (pmol) | Yield (pmol/100uL PCR) | Total ng yield:
366mer Strand 1 Sample 1 | 39.7 | ng/µl | 1.203 | 0.611 | 1.97 | 2.02 | 366 | 0.353 | 50 | 17.65 | 8.825 | 992.5
346mer Strand 2 Sample 1 | 27.9 | ng/µl | 0.847 | 0.453 | 1.87 | 1.85 | 346 | 0.262 | 50 | 13.1 | 6.55 | 697.5
Replicate 2
Sample ID | Nucleic Acid | Unit | A260 (Abs) | A280 (Abs) | 260/280 | 260/230 | Strand length (nt) | Concentration (uM) | Volume (uL) | Yield (pmol) | Yield (pmol/100uL PCR)
366mer Strand 1 Sample 2 | 41.5 | ng/µl | 1.259 | 0.638 | 1.97 | 2.06 | 366 | 0.369 | 50 | 18.45 | 9.225 | 1037.5
346mer Strand 2 Sample 2 | 29.7 | ng/µl | 0.899 | 0.485 | 1.85 | 1.84 | 346 | 0.279 | 50 | 13.95 | 6.975 | 742.5
Replicate 3
Sample ID | Nucleic Acid | Unit | A260 (Abs) | A280 (Abs) | 260/280 | 260/230 | Strand length (nt) | Concentration (uM) | Volume (uL) | Yield (pmol) | Yield (pmol/100uL PCR)
366mer Strand 1 Sample 3 | 39 | ng/µl | 1.181 | 0.593 | 1.99 | 1.8 | 366 | 0.346 | 50 | 17.3 | 8.65 | 975
346mer Strand 2 Sample 3 | 28.4 | ng/µl | 0.861 | 0.452 | 1.9 | 1.78 | 346 | 0.267 | 50 | 13.35 | 6.675 | 710
Average Strand 1 [pmol/100uL PCR]: | Standard deviation Strand 1 [pmol/100uL PCR]: | Average Strand 2 [pmol/100uL PCR]: | Standard deviation Strand 2 [pmol/100uL PCR]:
8.9 | 0.29475 | 6.7333 | 0.21842

## 240mer gel analysis results
240bp template gel densitometry results
Replicate 1
Lane: | Band Intensity (area): | Intensity/nt | pmol loaded | Volume loaded (uL) | pmol calculated | pmol/uL | Total volume | Total amount (pmol) | pmol/100uL rxn:
200mer control from IDT | 1192.163 | 5.9608 | 0.33
Clean PCR of 240mer Sample 1 | 1057.506 | 4.4063 |  | 2 | 0.24394 | 0.12197 | 210 | 25.6135 | 12.8068
Strand 1 supernatant Sample 1 | 1055.799 | 4.3992 |  | 5 | 0.24354 | 0.048709 | 488 | 23.7699 | 11.885
Strand 1 Sample 1 | 942.092 | 3.9254 |  | 1 | 0.21732 | 0.21732 | 100 | 21.7315 | 10.8658
Strand 2 supernatant Sample 1 | 691.263 | 3.1421 |  | 5 | 0.17395 | 0.03479 | 520 | 18.091 | 9.0455
Strand 2 Sample 1 | 569.556 | 2.5889 |  | 1 | 0.14333 | 0.14333 | 100 | 14.3325 | 7.1663
Replicate 2
Lane: | Band Intensity (area): | Intensity/nt | pmol loaded | Volume loaded (uL) | pmol calculated | pmol/uL | Total volume | Total amount (pmol) | pmol/100uL rxn:
Clean PCR of 240mer Sample 2 | 863.971 | 3.5999 |  | 2 | 0.19929 | 0.099647 | 210 | 20.926 | 10.463
Strand 1 supernatant Sample 2 | 1037.799 | 4.3242 |  | 5 | 0.23939 | 0.047878 | 488 | 23.3647 | 11.6823
Strand 1 Sample 2 | 788.092 | 3.2837 |  | 1 | 0.18179 | 0.18179 | 100 | 18.1792 | 9.0896
Strand 2 supernatant Sample 2 | 793.971 | 3.609 |  | 5 | 0.1998 | 0.03996 | 520 | 20.7789 | 10.3895
Strand 2 Sample 2 | 546.971 | 2.4862 |  | 1 | 0.13764 | 0.13764 | 100 | 13.7642 | 6.8821
Replicate 3
Lane | Band Intensity (area): | Intensity/nt | pmol loaded | Volume loaded (uL) | pmol calculated | pmol/uL | Total volume | Total amount (pmol) | pmol/100uL rxn:
200mer control from IDT | 901.87 | 4.5094 | 0.33
Raw PCR of 240mer Sample 3 | 976.335 | 4.0681 |  | 2 | 0.29771 | 0.14885 | 200 | 29.7706 | 14.8853
Clean PCR of 240mer Sample 3 | 788.749 | 3.2865 |  | 2 | 0.24051 | 0.12025 | 210 | 25.2532 | 12.6266
Strand 1 supernatant Sample 3 | 858.042 | 3.5752 |  | 5 | 0.26164 | 0.052327 | 488 | 25.5357 | 12.7678
Strand 1 Sample 3 | 722.627 | 3.2847 |  | 1 | 0.24038 | 0.24038 | 100 | 24.0376 | 12.0188
Strand 2 supernatant Sample 3 | 782.92 | 3.5587 |  | 5 | 0.26043 | 0.052086 | 520 | 27.085 | 13.5425
Strand 2 Sample 3 | 197.678 | 0.82366 |  | 1 | 0.060276 | 0.060276 | 100 | 6.0276 | 3.0138

## 240mer Ndrop analysis results
240bp template nanodrop results
Replicate 1
Sample ID | Nucleic Acid | Unit | A260 (Abs) | A280 (Abs) | 260/280 | 260/230 | Strand length (nt) | Concentration (uM) | Volume (uL) | Yield (pmol) | Yield (pmol/100uL PCR) | Total ng yield:
240mer Strand 1 Sample 1 | 16.6 | ng/µl | 0.502 | 0.26 | 1.93 | 1.69 | 240 | 0.225 | 100 | 22.5 | 11.25 | 830
220mer Strand 2 Sample 1 | 10.6 | ng/µl | 0.321 | 0.162 | 1.98 | 1.44 | 220 | 0.157 | 100 | 15.7 | 7.85 | 530
Replicate 2
Sample ID | Nucleic Acid | Unit | A260 (Abs) | A280 (Abs) | 260/280 | 260/230 | Strand length (nt) | Concentration (uM) | Volume (uL) | Yield (pmol) | Yield (pmol/100uL PCR)
240mer Strand 1 Sample 2 | 15.9 | ng/µl | 0.481 | 0.252 | 1.91 | 1.89 | 240 | 0.215 | 100 | 21.5 | 10.75 | 795
220mer Strand 2 Sample 2 | 11.9 | ng/µl | 0.362 | 0.185 | 1.96 | 1.64 | 220 | 0.176 | 100 | 17.6 | 8.8 | 595
Replicate 3
Sample ID | Nucleic Acid | Unit | A260 (Abs) | A280 (Abs) | 260/280 | 260/230 | Strand length (nt) | Concentration (uM) | Volume (uL) | Yield (pmol) | Yield (pmol/100uL PCR)
240mer Strand 1 Sample 3 | 18.3 | ng/µl | 0.554 | 0.286 | 1.94 | 1.85 | 240 | 0.248 | 100 | 24.8 | 12.4 | 915
220mer Strand 2 Sample 3 | 12.2 | ng/µl | 0.369 | 0.186 | 1.99 | 1.51 | 220 | 0.18 | 100 | 18 | 9 | 610
Average Strand 1 [pmol/100uL PCR]: | Standard deviation Strand 1 [pmol/100uL PCR]: | Average Strand 2 [pmol/100uL PCR]: | Standard deviation Strand 2 [pmol/100uL PCR]:
11.4667 | 0.84607 | 8.55 | 0.61441

## 109mer gel analysis results
109bp template gel densitometry results
Replicate 1
Lane: | Band Intensity (area): | Intensity/nt | pmol loaded | Volume loaded (uL) | pmol calculated | pmol/uL | Total volume | Total amount (pmol) | pmol/100uL rxn:
200mer | 1751.577 | 8.7579 | 0.33
Raw PCR of 109mer Sample 1 | 1174.92 | 10.7791 |  | 2 | 0.40616 | 0.20308 | 200 | 40.6159 | 20.308
Clean PCR of 109mer Sample 1 | 912.213 | 8.3689 |  | 2 | 0.31534 | 0.15767 | 220 | 34.6878 | 17.3439
Strand 1 supernatant Sample 1 | 1025.991 | 9.4128 |  | 5 | 0.35468 | 0.070935 | 492 | 34.9001 | 17.4501
Strand 1 Sample 1 | 572.971 | 5.2566 |  | 0.4 | 0.19807 | 0.49518 | 50 | 24.7589 | 12.3794
Strand 2 supernatant Sample 1 | 657.749 | 7.3904 |  | 5 | 0.27847 | 0.055695 | 520 | 28.9613 | 14.4807
Strand 2 Sample 1 | 458.799 | 5.155 |  | 0.4 | 0.19424 | 0.48561 | 50 | 24.2805 | 12.1402
Replicate 2
Lane: | Band Intensity (area): | Intensity/nt | pmol loaded | Volume loaded (uL) | pmol calculated | pmol/uL | Total volume | Total amount (pmol) | pmol/100uL rxn:
200mer | 1654.698 | 8.2735 | 0.33
Clean PCR of 109mer Sample 2 | 699.971 | 6.4218 |  | 2 | 0.25614 | 0.12807 | 220 | 28.1755 | 14.0877
Strand 1 supernatant Sample 2 | 665.213 | 6.1029 |  | 5 | 0.24342 | 0.048684 | 492 | 23.9527 | 11.9764
Strand 1 Sample 2 | 505.971 | 4.6419 |  | 0.4 | 0.18515 | 0.46288 | 50 | 23.1438 | 11.5719
Strand 2 supernatant Sample 2 | 446.335 | 5.015 |  | 5 | 0.20003 | 0.040006 | 520 | 20.8032 | 10.4016
Strand 2 Sample 2 | 311.263 | 3.4973 |  | 0.4 | 0.1395 | 0.34874 | 50 | 17.437 | 8.7185
Replicate 3
Lane: | Band Intensity (area): | Intensity/nt | pmol loaded | Volume loaded (uL) | pmol calculated | pmol/uL | Total volume | Total amount (pmol) | pmol/100uL rxn:
200mer control from IDT | 3226.719 | 16.1336 | 0.33
Clean PCR of 109mer Sample 3 | 1299.163 | 11.9189 |  | 2 | 0.24379 | 0.1219 | 210 | 25.5982 | 12.7991
Strand 1 supernatant Sample 3 | 1401.163 | 12.8547 |  | 5 | 0.26293 | 0.052587 | 488 | 25.6623 | 12.8311
Strand 1 Sample 3 | 702.678 | 6.4466 |  | 1 | 0.13186 | 0.13186 | 100 | 13.186 | 6.593
Strand 2 supernatant Sample 3 | 734.456 | 8.2523 |  | 5 | 0.16879 | 0.033759 | 520 | 17.5546 | 8.7773
Strand 2 Sample 3 | 267.556 | 3.0062 |  | 1 | 0.06149 | 0.06149 | 100 | 6.149 | 3.0745

## 109mer Ndrop analysis results
109bp template nanodrop results
Replicate 1
Sample ID | Nucleic Acid | Unit | A260 (Abs) | A280 (Abs) | 260/280 | 260/230 | Strand length (nt) | Concentration (uM) | Volume (uL) | Yield (pmol) | Yield (pmol/100uL PCR) | Total ng yield:
109mer Strand 1 Sample 1 | 18.4 | ng/µl | 0.558 | 0.308 | 1.81 | 1.79 | 109 | 0.5487 | 50 | 27.435 | 13.7175 | 460
89mer Strand 2 Sample 1 | 15.4 | ng/µl | 0.466 | 0.232 | 2.01 | 1.59 | 89 | 0.56244 | 50 | 28.1218 | 14.0609 | 385
Replicate 2
Sample ID | Nucleic Acid | Unit | A260 (Abs) | A280 (Abs) | 260/280 | 260/230 | Strand length (nt) | Concentration (uM) | Volume (uL) | Yield (pmol) | Yield (pmol/100uL PCR)
109mer Strand 1 Sample 2 | 18.5 | ng/µl | 0.561 | 0.301 | 1.87 | 1.76 | 109 | 0.55168 | 50 | 27.584 | 13.792 | 462.5
89mer Strand 2 Sample 2 | 12.8 | ng/µl | 0.387 | 0.191 | 2.03 | 1.84 | 89 | 0.46748 | 50 | 23.374 | 11.687 | 320
Replicate 3
Sample ID | Nucleic Acid | Unit | A260 (Abs) | A280 (Abs) | 260/280 | 260/230 | Strand length (nt) | Concentration (uM) | Volume (uL) | Yield (pmol) | Yield (pmol/100uL PCR)
109mer Strand 1 Sample 3 | 6.3 | ng/µl | 0.192 | 0.097 | 1.97 | 1.48 | 109 | 0.188 | 100 | 18.8 | 9.4 | 315
89mer Strand 2 Sample 3 | 5.9 | ng/µl | 0.178 | 0.088 | 2.03 | 1.22 | 89 | 0.215 | 100 | 21.5 | 10.75 | 295
Average Strand 1 [pmol/100uL PCR]: | Standard deviation Strand 1 [pmol/100uL PCR]: | Average Strand 2 [pmol/100uL PCR]: | Standard deviation Strand 2 [pmol/100uL PCR]:
12.3032 | 2.5145 | 12.166 | 1.7066